## Methods
Specimens are concentrated prior to RNA extraction with methods that fall under a few general categories. |  | Geography where the specimens were collected |  | Sewage network = wastewater treatment plant, pumping substations. Bodies of water: lakes, rivers, canal, ponds |  | Precipitation is a two phase separation aided by an additive chemical. Filtration is based on size exclusion; electronegative membrane filtration enable adsortion and elution of viruses. Ultracentrifugation: centrifugation higher than 30000 rpm. |  | Protocol followed as per kit manufactures instruction | number in parentheses indicate separate assay. The CDC and WHO consensus genes (version 2) include: genes ORF1a, RdRp, S (Spike), E (Envelope) and N(nucleocapsid) | Grab sample is an individually collected sample. Composite sample is the collection of numerous invidual samples over a period of time, usual 24 hours, from the same location |  | Link to the article
Concentration Method Category | First Author | Country | Geography (specific) | Location Category | Number of Locations Sampled | Concentration Method | Extraction Kit Manufacturer | Extraction Kit | Assay Type | Sample Type | Inactivation Prior to Analysis | Reference
Adsorption-elution | Ahmed, Warish | Australia | Brisbane, Queensland | Sewage network | 3 | Direct RNA extraction from electronegative membrane (Merck) - Filter 0.45 µm | Qiagen | RNeasy PowerWater & RNeasy PowerMicrobiome | RT-qPCR: N_Sarbeco, NIID_2019_nCoV_N | grab samples; composite samples | No | https://doi.org/10.1016/j.scitotenv.2020.138764
Filtration | Ahmed, Warish | Australia | Brisbane, Queensland | Sewage network | 3 | Ultrafiltration (Centricon) | Qiagen | RNeasy PowerMicrobiome | RT-qPCR: N_Sarbeco, NIID_2019_nCoV_N | grab samples; composite samples | No | https://doi.org/10.1016/j.scitotenv.2020.138764
Precipitation | Randazzo, Walter | Spain | Murcia | Sewage network | 6 | Adsorption-precipitation (aluminum hydroxide) followed by centrifugation | Macherey-Nagel | NucleoSpin RNA Virus | RT-qPCR: N (N1, N2, N3) | grab | No | https://www.sciencedirect.com/science/article/pii/S0043135420304796
Filtration | Medema, Gertjan | Netherlands | Amsterdam, and other cities | Sewage network | 7 | Centricon centrifugal ultrafiltration | Qiagen & Biomerieux | RNeasy PowerMicrobiome & Biomerieux Nuclisens | RT-qPCR: E, N (N1, N2, N3) | 24 hr composite | No | https://pubs.acs.org/doi/10.1021/acs.estlett.0c00357
Precipitation | La Rosa, Giuseppina | Italy | Milan, Rome | Sewage network | 3 | Two-phase separation: PEG-dextran | Biomerieux | NucliSENS miniMAG semi-automated extraction system with magnetic silica beads | (1) RT-qPCR: RdRP (2) nested RT-PCR: S, ORF1 (ORF1ab, novel ORF1ab) | 24 hr composite | Yes | https://www.sciencedirect.com/science/article/pii/S0048969720331727
Adsorption-elution | Haramoto, Eiji | Japan | Yamanashi Prefecture | Sewage network, bodies of water | 2 | Electronegative membrane with elution by vortexing (EMV), ultrafiltration (filter 0.8 µm + 0.45 µm) | Qiagen | QIAamp Viral RNA Mini | (1) RT-qPCR: N_Sarbeco, NIID_2019_nCoV_N, N (N1, N2); (2) nested PCR: S, ORF1 (ORF1a) | grab | No | https://www.sciencedirect.com/science/article/pii/S0048969720339279
Adsorption-elution | Haramoto, Eiji | Japan | Yamanashi Prefecture | Sewage network, bodies of water | 2 | Adsorption-direct RNA extraction, ultrafiltration (filter 0.8 µm) | Qiagen | RNeasy PowerWater | (1) RT-qPCR: N_Sarbeco, NIID_2019_nCoV_N, N (N1, N2); (2) nested PCR: S, ORF1 (ORF1a) | grab | No | https://www.sciencedirect.com/science/article/pii/S0048969720339279
Filtration | Sherchan, Samendra | USA | Louisiana | Sewage network | 2 | Ultrafiltration (Centricon) | Zymo Research | ZR Viral RNA | RT-qPCR: N (N1, N2) | grab, 24 hr composite | No | https://www.sciencedirect.com/science/article/pii/S0048969720341437
Adsorption-elution | Sherchan, Samendra | USA | Louisiana | Sewage network | 2 | Adsorption-elution electronegative membrane (filter 0.45 µm) | Zymo Research | ZR Viral RNA | RT-qPCR: N (N1, N2) | grab, 24 hr composite | No | https://www.sciencedirect.com/science/article/pii/S0048969720341437
Precipitation | Wu, Fuqing | USA | Massachusetts | Sewage network | 1 | Two-phase separation: PEG 8000 -NaCl precipitation with pre-filtration (0.2 µm) & w/o filtration | ThermoFisher (Manual method) | Trizol-Chloroform method | RT-qPCR: S, N (N1, N2, N3) | 24 hr composite | Yes | https://msystems.asm.org/content/msys/5/4/e00614-20.full.pdf
Ultracentrifugation | Wurtzer, Sebastien | France | Paris | Sewage network | 3 | Centrifuged at 200,000 x g for 1 hr at 4 C | Qiagen | PowerFecal pro | RT-qPCR: E, RdRp | Not reported | No | https://www.medrxiv.org/content/10.1101/2020.04.12.20062679v2
Filtration | Nemudryi, Artem | USA | Montana | Sewage network | 1 | Sequential filtration (20 µm, 5 µm, 0.45 µm) + ultrafiltration | Qiagen | RNeasy Mini | RT-qPCR: N (N1, N2) | grab, 24 hr composite | No | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7276038/
Filtration | Rimoldi, Sara Giordana | Italy | Milan, and other cities | Sewage network, bodies of water | 3 | Glass fiber filtration (0.7 µm) + membrane filtration (0.22 µm) | Qiagen | QIAamp Viral RNA Mini | RT-PCR: N, ORF1ab, E | grab | No | https://www.sciencedirect.com/science/article/pii/S0048969720344405
Ultracentrifugation | Prado, Tatiana | Brazil | Rio de Janeiro | Sewage network, hospitals | 12 | Centrifuged at 229,600 x g for 1 hr at 4 C | Qiagen | QIAamp Viral RNA Mini | RT-qPCR: N (N2) | 10 hr composite | Yes | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7384299/
Precipitation | Zhang, Dayi | China | Wuhan | Hospital | 1 | Two-phase separation: PEG 6000 -NaCl precipitation with centrifugation | Qiagen | EZ1 virus Mini | RT-qPCR: N, ORF1 | grab | No | https://www.sciencedirect.com/science/article/pii/S004896972033967X
Precipitation | Kumar, Manish | India | Ahmedabad | Sewage network | 1 | Two-phase separation: PEG 9000 -NaCl precipitation with pre-filtration (0.22 µm) | Macherey-Nagel | NucleoSpin RNA Virus | RT-PCR: N, S, ORF1 (ORF1ab) | grab | No | https://www.sciencedirect.com/science/article/pii/S0048969720348555
Precipitation | Guerrero-Latorre, Laura | Ecuador | Quito | Body of water | 1 | Skimmed-milk flocculation with centrifugation | Bioneer | AccuPrep Universal RNA Extraction | RT-qPCR: N (N1, N2) | grab | No | https://www.sciencedirect.com/science/article/pii/S0048969720343564
Direct extraction | Peccia, Jordan | USA | Connecticut | Sewage network | 1 | Direct RNA Extraction (Sludge sample) | Qiagen | Rneasy PowerSoil Total RNA | RT-qPCR: N (N1, N2) | grab | No | https://www.medrxiv.org/content/10.1101/2020.05.19.20105999v2
Filtration | Kocamemi, Bilge Alpaslan | Turkey | Istambul | Sewage network | 9 | Ultrafiltration (Amicon) | Qiagen | QIAamp Cador Pathogen Mini | RT-qPCR: RdRp | grab, 24h composite | No | https://www.medrxiv.org/content/10.1101/2020.05.03.20089417v1.full.pdf+html
Precipitation | Kocamemi, Bilge Alpaslan | Turkey | Istambul | Sewage network | 9 | Two-phase separation: PEG 8000 -NaCl (Sequentially filtered (0.45 µm and 0.2 µm) then precipitated) | Qiagen | QIAamp Cador Pathogen Mini | RT-qPCR: RdRp | grab, 24h composite | No | https://www.medrxiv.org/content/10.1101/2020.05.03.20089417v1.full.pdf+html
Precipitation | Or, Itay Bar | Israel | Tel-Aviv | Sewage network | 26 | PEG precipitation with ultrafiltration | Qiagen & Biomerieux | RNeasy Mini (QIAGEN) & EasyMAG (bioMerieux). | RT-qPCR: E | grab, 24 hr composite | No | https://www.medrxiv.org/content/10.1101/2020.04.26.20073569v1.full.pdf+html
Precipitation | Or, Itay Bar | Israel | Tel-Aviv | Sewage network | 26 | Alum precipitation with ultrafiltration | Qiagen | Spin column RNA Mini | RT-qPCR: E | grab, 24 hr composite | No | https://www.medrxiv.org/content/10.1101/2020.04.26.20073569v1.full.pdf+html
Precipitation | Arora, Sudipti | India | Jaipur | Sewage network, hospitals | 8 | Two-phase separation: PEG-NaCl precipitation with pre-filtration (0.45 µm) | Seegene | Allplex 2019 nCoV assay | RT-PCR: ORF1 (ORF1ab), S, E, N, RdRp | grab | Yes | https://www.medrxiv.org/content/10.1101/2020.06.18.20135277v1.full.pdf+html
Ultracentrifugation | Arora, Sudipti | India | Jaipur | Sewage network, hospitals | 8 | Ultracentrifugation | Seegene | Allplex 2019 nCoV assay | RT-PCR: ORF1 (ORF1ab), S, E, N, RdRp | grab | Yes | https://www.medrxiv.org/content/10.1101/2020.06.18.20135277v1.full.pdf+html
Precipitation | Sharif, Salmaan | Pakistan | Islamabad | Sewage network | 38 | Two-phase separation: PEG - Dextran precipitation with centrifugation | ADT Biotech | Spin Star Viral Nucleic acid 1.0 | (1) RT-PCR: ORF1ab; (2) RT-qPCR: ORF1, N; (3) RT-qPCR: ORF1ab, N | grab | No | https://www.medrxiv.org/content/10.1101/2020.06.03.20121426v3.full.pdf+html
Adsorption-elution | Ahmed, Warish | Australia | Brisbane, Sydney | Airplane and cruise ship | 2 | Direct RNA extraction from electronegative membrane | Qiagen | RNeasy PowerWater & RNeasy PowerMicrobiome | RT-qPCR: N1, N2, NIID_2019-nCOV_N, E. RT-ddPCR: N1 . | grab | No | https://academic.oup.com/jtm/advance-article/doi/10.1093/jtm/taaa116/5871228
Filtration | Ahmed, Warish | Australia | Brisbane, Sydney | Airplane and cruise ship | 2 | Ultrafiltration (Amicon) | Qiagen | RNeasy PowerWater & RNeasy PowerMicrobiome | RT-qPCR: N1, N2, NIID_2019-nCOV_N, E. RT-ddPCR: N1 . | grab | No | https://academic.oup.com/jtm/advance-article/doi/10.1093/jtm/taaa116/5871228
Precipitation | La Rosa, Giuseppina | Italy | Milan, and other cities | Sewage network | 5 | Two-phase separation: PEG - Dextran precipitation with centrifugation | Biomerieux | NucliSENS miniMAG semi-automated extraction system with magnetic silica beads | (1) RT-qPCR: RdRP, E, ORF1 (ORF1ab); (2) nested RT-PCR: ORF1 (ORF1ab) | 24 hr composite | Yes | https://www.sciencedirect.com/science/article/pii/S0048969720352402
Filtration | Trottier, Julie | France | Montpellier | Sewage network | 1 | Ultrafiltration (Sartorius) | Macherey-Nagel | NucleoSpin RNA Virus | RT-qPCR: N (N1, N3) | 24 hr composite | No | https://www.sciencedirect.com/science/article/pii/S2352771420302585
Ultracentrifugation | Green, Hyatt | USA | New York | Sewage network | 11 | Centrifuged at 150,000 x g for 45 or 90 min at 4 C (with Sucrose cushion purification method) | Qiagen | AllPrep PowerViral DNA/RNA | RT-qPCR: RdRp (IP2, IP4) | 24 hr composite | No | https://www.medrxiv.org/content/10.1101/2020.05.21.20109181v1.full.pdf+html
Precipitation | Hata, Akihiko | Japan | Ishikawa & Toyama | Sewage network | 4 | Two-phase separation: PEG 8000-NaCl precipitation with centrifuge | Qiagen | QIAamp viral RNA mini | RT-qPCR & RT nested PCR : N2, N3, NIID_2019-nCOV_N | grab | No | https://www.medrxiv.org/content/10.1101/2020.06.09.20126417v2.full.pdf
Precipitation | Chavarria-Miro Gemma | Spain | Barcelona | Sewage network | 2 | Two-phase separation: PEG 6000 -NaCl precipitation | Biomerieux | NucliseNS miniMAG semi-automated extraction system | RT-qPCR: RdRp(IP2, IP4), E, N1, N2 | grab, 24h composite | No | https://www.medrxiv.org/content/10.1101/2020.06.13.20129627v1.full.pdf
Precipitation | D'Aoust Pratick M.D | Canada | Ottawa | Sewage network | 2 | Two-phase separation: PEG 8000-NaCl precipitation with pre-filteration (1.5 µm + 0.45 µm) | Qiagen | Rneasy PowerMicrobiome | RT-qPCR: N1, N2, N3, E | grab, 24h composite | No | https://www.medrxiv.org/content/10.1101/2020.08.11.20173062v2.full.pdf
Filtration | Balboa, Sabela | Spain | Ourense | Sewage network | 1 | Ultrafiltration (Amicon) | Seegene | Allplex system 2019-nCoV: STARMag 96 x 4 Universal Cartridge Kit | RT-qPCR: RdRp, N, and E | grab, 24 hr composite | No | https://www.medrxiv.org/content/10.1101/2020.05.25.20112706v1
Precipitation | Balboa, Sabela | Spain | Ourense | Sewage network | 1 | Two-phase separation: PEG 8000-NaCl precipitation with centrifugation and pre-filtration (0.45 µm) | Seegene | Allplex system 2019-nCoV: STARMag 96 x 4 Universal Cartridge Kit | RT-qPCR: RdRp, N, and E | grab, 24 hr composite | No | https://www.medrxiv.org/content/10.1101/2020.05.25.20112706v1
Precipitation | Kocamemi, Bilge Alpaslan | Turkey | Istanbul | Sewage network | 9 | Two-phase separation: PEG 8000-NaCl precipitation with pre-filtration (0.45 µm + 0.2 µm) | Roche Diagnostics | MagNA pure LC total nucleic acid isolation kit | RT-qPCR: RdRp | grab | No | https://www.medrxiv.org/content/10.1101/2020.05.12.20099358v1.full.pdf
Adsorption-elution | Fongaro, Gislaine | Brazil | Santa Catalina | Sewage network | 1 | Electronegative membrane (0.45 um) + ultrafiltration (Centricon) | Qiagen | QIAamp Viral RNA Mini | RT-qPCR: N (N1), S, and RdRp | grab | No | https://www.medrxiv.org/content/10.1101/2020.06.26.20140731v1.full.pdf
Ultracentrifugation | Ampuero, Manuel | Chile | Santiago | Sewage network | 2 | Ultracentrifugation | Qiagen | QIAamp Viral RNA Mini | RT-PCR: N, S, ORF1 (ORF1ab) | 24 hr composite | No | https://www.medrxiv.org/content/10.1101/2020.07.02.20145177v1.full.pdf
Adsorption-elution | Curtis, Kyle | USA | Virginia | Sewage network | 1 | Electronegative membrane (filter 0.45 µm) | Biomerieux | NucliSENS easyMag | RT-ddPCR: N (N1, N2, N3) | grab, 24 hr composite | No | https://www.medrxiv.org/content/10.1101/2020.07.10.20150607v1.full.pdf
Precipitation | Jorgensen, Alissa | Denmark, France, Belgium |  | Sewage network, hospital | 18 | Two-phase separation: PEG 8000-NaCl with 10 various trails or modification | Eurofins | VIRSeek Screen kit (E gene) + VIRSeek Ident kit (RdRp gene) | RT-PCR: E, RdRp | 24 hr composite | Both | https://www.medrxiv.org/content/10.1101/2020.07.10.20150573v2.full.pdf
Updated: September 17, 22020